School Health and Safety Checklist

For use by Local governors/headteachers

The checklist should be kept at school.

Issues arising from questions that produce a “no” answer can probably be addressed effectively within existing maintenance/repair arrangements. For more significant issues it may be useful to consider a risk assessment approach to determine what action is necessary.

An action plan is provided at the end of the audit.

School Health and Safety Checklist

| Name of school: |  |  |
| --- | --- | --- |
| Persons involved: |  |  |
| Date of check: (twice per year) | Visit 1 | Visit 2 |

| Have all action points from previous inspection been completed? | Yes | No | If no – Action – Responsibility – Timetable |
| --- | --- | --- | --- |
| Comments |  |  |  |

| Section 1 – Health and Safety Information |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Yes | No | Comments |
| 1.1 | Are Health and Safety Law posters completed and displayed? |  |  | All workplaces should display the poster in a prominent position in the workplace (office/staffroom) or alternatively provide a copy of the leaflet called ‘Health and Safety Law’ to every employee. Health and safety law poster - HSE |
| 1.2 | Copy of Certificate of Employers Liability Insurance displayed? |  |  |  |
| 1.3 | Do all employees (teaching and non teaching) receive relevant information from school management regarding health and safety, and is there a process to inform them of changes? |  |  | This could be at meetings, by notice board, email etc. |
| 1.4 | Are risk assessments undertaken for all work activities and recorded in a retrievable format; control measures implemented; assessment findings communicated to staff and pupils that may be affected; also safe systems of work in place as necessary? |  |  | Details of risk assessments, and the control measures put in place, must be recorded and available for all staff to view. How is this achieved? |

| Section 2 – External Areas and Play Equipment |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Yes | No | Comments |
| 2.1 | Are paths and playgrounds free from foreseeable trip/slip hazards? |  |  |  |
| 2.2 | Are manholes secure? |  |  |  |
|  | Are surface drains free running to prevent flooding school property? |  |  |  |
| 2.3 | Are grass areas reasonably even and free of glass, needles etc? |  |  |  |
| 2.4 | Do trees/branches appear safe? |  |  |  |
| 2.5 | Is the perimeter fencing sound? |  |  |  |
| 2.6 | Is play equipment well maintained and free from sharp edges or rough surfaces? |  |  |  |
| 2.7 | Is play equipment regularly inspected and documented? ( All inspections and maintenance programmes should cover the whole play area and not just the play equipment or the impact absorbing surface. Fences, gates, seating and open areas of play should also be assessed.) |  |  |  |

| Section 3 – Vehicles On Site |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Yes | No | Comments |
| 3.1 | Are traffic routes marked or signed? |  |  |  |
| 3.2 | Where possible, is there segregation of vehicles and pedestrians? |  |  |  |
| 3.3 | Is there designated parking? |  |  |  |
| 3.4 | Are there designated loading/unloading bays? |  |  |  |
| 3.5 | Are traffic warning signs and markings clear? |  |  |  |

| Section 4 – Evacuation |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Yes | No | Comments |
| 4.1 | Are escape routes clear of obstructions? |  |  |  |
| 4.2 | Are classrooms and access routes sufficiently lit if work after dark is anticipated? |  |  |  |
| 4.3 | Are exit doors free from internal/external obstruction? |  |  |  |
| 4.4 | Is lighting in place in car parks and on outside access routes suitable and sufficient? |  |  |  |
| 4.5 | Are evacuation notices displayed adjacent to alarm call-points and key locations? |  |  |  |
| 4.6 | Are fire drills held termly and recorded? |  |  |  |
| 4.7 | Have extinguishers/alarm been serviced within last year? |  |  |  |
| 4.8 | Is the alarm audible? |  |  |  |

| Section 5 – Building Issues |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Yes | No | Comments |
| 5.1 | Are floors and floor coverings in good condition? |  |  |  |
| 5.2 | Are handrails on stairs sound? |  |  |  |
| 5.3 | Are door mechanisms in good working order? |  |  |  |
| 5.4 | Is safety glass used where appropriate? |  |  |  |
| 5.5 | Are facilities for people with disabilities appropriate? |  |  |  |
| 5.6 | Do gutters, down-pipes and other fixtures appear sound? |  |  |  |
| 5.7 | Do roof tiles appear secure? |  |  |  |
| 5.8 | Are security systems adequate? |  |  |  |

| Section 6 – Temperature & Ventilation |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Yes | No | Comments |
| 6.1 | Can a reasonable room temperature be maintained? |  |  |  |
| 6.2 | Are fans/blinds provided to alleviate high temperature? |  |  |  |
| 6.3 | Is the natural and artificial ventilation adequate? |  |  |  |

| Section 7 – Lighting |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Yes | No | Comments |
| 7.1 | Are all lights working? |  |  |  |
| 7.2 | Are diffusers clean? |  |  |  |
| 7.3 | Is internal lighting adequate? |  |  |  |
| 7.4 | Is external lighting adequate? |  |  |  |

| Section 8 – Electricity |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Yes | No | Comments |
| 8.1 | Is access to electrical system restricted to authorised persons? |  |  |  |
| 8.2 | Is there a warning sign displayed? |  |  |  |
| 8.3 | Is there an electric shock first aid poster displayed? |  |  |  |
| 8.4 | Are materials in the electrical cupboard stored in a safe manner? |  |  |  |
| 8.5 | Are portable electrical appliances been PAT tested and records available? |  |  |  |
| 8.6 | Are plugs and leads in good condition? |  |  |  |
| 8.7 | Are socket outlets at least 1m away from running water? |  |  |  |

| Section 9 – Gas Safety |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Yes | No | Comments |
| 9.1 | Are gas appliances ( inc. Heating system boilers~)serviced annually by a competent Gas safe registered engineer and a certificate available? |  |  |  |

| Section 10 – First Aid and Medical Provision |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Yes | No | Comments |
| 10.1 | Are there sufficient certificated First Aiders/Appointed Persons available at all times work activities are being undertaken? |  |  | Numbers should be determined by considering issues such as pupil numbers, premises layout (split sites etc.), sickness/holiday absence, and higher risk activities |
| 10.2 | Are names of first aiders displayed or known? Are staff aware how first aiders can be contacted? |  |  |  |
| 10.3 | Are certificates valid? |  |  |  |
| 10.4 | Is there an adequate number of stocked first aid kits, (including provision for external visits) and locations signed? |  |  |  |
| 10.5 | Are first aid boxes adequately stocked? |  |  |  |
| 10.6 | Are arrangements in place for safe disposal of body fluids and sharps? |  |  |  |
| 10.7 | Do staff wear gloves when dealing with body fluids? |  |  |  |
| 10.8 | Are staff aware of your policy for administering medicines? |  |  |  |

| Section 11 – Welfare Provision |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Yes | No | Comments |
| 11.1 | Are there suitable toilet facilities? |  |  |  |
| 11.2 | Are toilets and washrooms free from defects? |  |  |  |
| 11.3 | Are suitable washing facilities available? |  |  |  |
| 11.4 | Are the facilities adequately inspected, cleaned, ventilated and lit? |  |  |  |
| 11.5 | Have drinking water outlets been labelled? |  |  |  |
| 11.6 | Is the water system monitored regularly and cleaned and disinfected, as required, to ensure compliance and records available? |  |  |  |
| 11.7 | Are there appropriate facilities for people who are unwell? |  |  |  |
| 11.8 | Are dinning areas free from defects? |  |  |  |
| 11.9 | Are inspection and maintenance procedures in place for the Catering facilities on site? |  |  |  |

| Section 12 – Working at Height |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Yes | No | Comments |
| 12.1 | Are steps or ‘kick-stools’ available and used appropriately? |  |  |  |
| 12.2 | Are ladders/scaffold towers in good condition and stored securely? |  |  |  |
| 12.3 | Is there a formal inspection of ladders, step ladders and any other access equipment? |  |  | These inspections can be undertaken in house by a member of staff who completed appropriate training. |
| 12.4 | Are ladders/scaffold towers used by authorised persons only? |  |  |  |
| 12.5 | Is there a safe system for working at height e.g. roofs? |  |  |  |
| 12.6 | Where staff clean windows, have safe procedures been agreed? |  |  |  |
| 12.7 | If a window-cleaning contract is used has a safe system of work been agreed? |  |  |  |

| Section 13 – Hazardous Substances |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Yes | No | Comments |
| 13.1 | Are all harmful materials ( including cleaning materials)identified, correctly labelled, handled, used, transported and securely stored? |  |  |  |
| 13.2 | Are the findings of COSHH assessments for all harmful substances communicated to staff and pupils? |  |  |  |
| 13.3 | Are identified control measures implemented for harmful substances in use? |  |  |  |

| Section 14 – Workplace |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Yes | No | Comments |
| 14.1 | Is the classroom furniture free from defects and set out so as not to cause an obstruction? |  |  |  |
| 14.2 | Are wall mounted fixtures, shelving, furniture etc. in good condition and secure? |  |  |  |
| 14.3 | Is storage of small quantities of flammable/hazardous substances suitable? |  |  |  |
| 14.4 | Do office staff have enough working space? |  |  |  |
| 14.5 | Are all parts of the school maintained in a clean and tidy condition? |  |  |  |
| 14.6 | Are there adequate facilities for the safe storage and disposal of waste? |  |  |  |
| 14.7 | Are caretakers and cleaners cupboards locked during opening hours and a system of controlled access adopted? |  |  |  |
| 14.8 | Are boiler houses and electrical cupboards locked at all times and suitably signed to warn of the hazards? |  |  |  |

Additional points you may wish to consider:

- Is the school health and safety policy up-to-date?

- In addition to this inspection, does the school review health and safety performance, e.g. monitor accidents, share information?

Action plan

Priority key:

Red – Urgent - do not delay.

Amber – Important, prioritise action and plan to be completed.

Green – action within usual maintenance cycle.

| Audit section number and title | Action required | Priority | Person responsible for action | Date action to be completed | Is a risk assessment required? |  | Date action completed and issue resolved |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Yes | No |  |
| Further comments or information |  |  |  |  |  |  |  |

| Audit section number and title | Action required | Priority | Person responsible for action | Date action to be completed | Is a risk assessment required? |  | Date action completed and issue resolved |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Yes | No |  |
| Further comments or information |  |  |  |  |  |  |  |

| Audit section number and title | Action required | Priority | Person responsible for action | Date action to be completed | Is a risk assessment required? |  | Date action completed and issue resolved |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Yes | No |  |
| Further comments or information |  |  |  |  |  |  |  |